## Slide 1
7-12
Administrative Procedures
Development permit
Variances
Inspections
Enforcement
Records

## Slide 2
Development permit
Site plan specifications (e.g., floodway?)
Building data (for Elevation Certificate)
Permits needed from other agencies
  Local offices
  State permits
  Federal permits
7-22

## Slide 3
7-22

## Slide 4
7-45
Variance Guidance
Unique to the property
Pertains to the land, not the occupant
44 CFR 60.6(a)
Follow the procedures
Good and sufficient cause
Applicant proves unnecessary hardship
Minimum variation necessary

## Slide 5
7-50
Advise applicant that flood insurance premiums will be higher
Polling Question

## Slide 6
7-36
Inspections
First: Pre-construction
Second: Elevation
Third: Final

## Slide 7
7-36
Locate floodplain boundaries
Setbacks
No encroach-
ment in the
floodway
1. Pre-construction Inspection

## Slide 8
7-36
Timing
Slab: forms are placed
Elevated: foundation completed
Floodproofed: when done
2. Elevation Inspection

## Slide 9
7-36
2. Elevation Inspection
Check for:
Lowest floor elevation
Fill compaction
Locations on site
Foundation openings

## Slide 10
7-38
3. Final Inspection
Check for:
Floor elevation
Enclosures
Equipment/utilities
Floodway
Anchoring
EC complete?
If all OK  Certificate of Occupancy

## Slide 11
7-41
Enforcement
Withhold certificate of occupancy
Legal action with attorney
Record violation in deed records
Section 1316
  No more flood insurance
  No claim payment
  No mortgage/home loan
  No disaster assistance

## Slide 12
7-56
Records at the time of the permit
Permit application and site plan
Other permits issued/not needed
Substantial improvement tracking
No rise certificate (in floodway)
1 foot rise certificate (no floodway mapped)

## Slide 13
7-56
Records after the permit is issued
Second inspection elevation record
Final construction Elevation Certificate
Final construction Floodproofing Certificate
Certificate of Occupancy

## Slide 14
7-36
Timing
Slab: forms are placed
Elevated: foundation completed
Floodproofed: when done
2. Elevation Inspection
Questions?

## Slide 15
Basics of Floodplain Regulations
Adjourn
Register for November 2 workshop
“Regulating After a Disaster”
And get references and recording at
https://chehalisbasinstrategy.com